Charging voltage:		8.4V-9V

Overcharge voltage range:		4.28V±0.05V

Over discharge voltage range:	2.9V±0.05V

Upper limit working current:	8A

Upper limit instantaneous current:	16A

Working temperature:		-40-+50℃

Storage conditions:		-40-+80℃

Static electricity:		less than 10 ua

Useful life:			more than 30000 hours

Overcharge protection,over discharge protection,short circuit protection,over current protection

Size:			4.1x0.8cm/1.57x0.31inch